## Sheet1
FOI 40-2022
Please provide details of clinical service incidents caused by estates and infrastructure failure at your hospital trust for the years 2019/20, 2020/21 and so far in 2021/22.
Clinical service incidents are defined as infrastructure failures that have interfered with clinical services in some way. These could be things like power outages, building defects, water supply, oxygen shortages, food delivery, pest control or sewage supply.
For each incident, please could you provide a summary covering:
a. The date of the incident and the site of the incident.
b. The cause of the incident – e.g.. water shortage, power failure, pest control.
c. The cost and impact on services, such as delays or cancellations to planned patient care. Including where possible the number of patients affected and the length of the impact. | Information on the cost of incidents is not held. Limited information is held in regards to delays, cancellations, number of patients affected and length of impact. The impact itself is subjective, and hence only factual information is able to be provided. The information held has been provided below.
2019/20
Date | Site | Incident | Impact on Patients | Length of Impact
2019-08-09 | CCC Wirral | Power fluctuation caused linacs to power off | Additional X-ray imaging and increased waiting times | Downtime of 3 hours.
2019-08-13 | CCC Wirral | Heavy rain resulting in ceiling leak and flooading in MRI waiting room | Patients had to wait in corridor whilst repairs took place
2019-10-15 | CCC Wirral | Heating not working
2019-11-11 | CCC Wirral | Patient uptake room infested w/maggots. Room out of use whilse cleaning took place
2019-11-15 | CCC Aintree | Lift not working | Appointment cancellations or treatment elsewhere in the hospital
2019-12-02 | CCC Wirral | Temperature excursion in Aseptic unit resulted in clinical trial stock being quarantined resulting in delays to patients | Delay to treatment
2020-02-10 | CCC Wirral | Flooding of five rooms
2020-03-10 | CCC Wirral | Flood in theatre | Delay to treatment
2020-03-11 | CCC Wirral | Linach machine room temperature too hot for room to be used. | Treatment moved
2020/21
Date | Site | Incident | Impact on Patients | Length of Impact
2020-06-15 | CCC Wirral | Potential damage to scanner from roof leak | Treatment cancellation
2020-07-01 | CCC Liverpool | Swipe access doors locked on unit | Delay to treatment
2020-07-13 | CCC Liverpool | Dispensary service lift broken | Delay to treatment
2020-07-16 | CCC Liverpool | Heating not working in 4 treatment rooms | Delay to treatment
2020-07-28 | CCC Wirral | Lack of cleaning equipment for chemo production room. Delay of chemo production | Delay to treatment | 2.5 hours
2020-10-05 | CCC Liverpool | Dispensary service lift broken | Delay to treatment
2020-11-11 | CCC Liverpool | Plant failure in pharmacy | Delay to treatment
2021-01-20 | CCC Liverpool | Mould in inner preparation room and VHP isolator room | 26 patients delayed
2021-01-29 | CCC Aintree | Ceiling leak - treatment machine not in use | Delay to treatment
2021-02-11 | CCC Wirral | Bacterial growth on aseptic plates within 3 isolators | Reduced capacity
2021-03-01 | CCC Wirral | Heating not working in treatment room | Delay to treatment
2021-03-31 | CCC Liverpool | Power cut affecting radiotherapy Linacs | 9 patients sent home/telephoned with cancellation | Excess of 2 hours
2021/22
Date | Site
2021-04-01 | CCC Liverpool | Mains power failure in Papillion suite | Delay to treatment | 1.5 hours
2021-04-01 | CCC Liverpool | Dispensary service lift broken | Delay to treatment
2021-04-15 | CCC Wirral | Temperature in aseptic unit below minimum, unable to start preparing doses | Delay to treatment
2021-05-03 | CCC Wirral | Ceiling leak | Delay to treatment | 30 mins
2021-05-20 | CCC Liverpool | Insufficient cleaning of bedrooms | Delay to admittance of patients
2021-07-01 | CCC Wirral | Power cut in imaging department | Cancellation of appointments
2021-07-20 | CCC Wirral | Broken air conditioning in phlebotomy room. Services moved to another area
2021-07-20 | CCC Liverpool | Brief power outage affecting Linacs machines | Delay to treatment | 40 mins
2021-07-22 | CCC Liverpool | Critical heating error of PET-CT system | Cancellation of appointments | 1 and 1/2+ days
2021-09-04 | CCC Liverpool | Insufficient cleaning of bedrooms | Delay to admittance of patients
2021-09-16 | CCC Wirral | GE scanner lock broken | Cancellation of appointments | 1 day
2021-10-04 | CCC Liverpool | Dispensary service lift broken | Cancellation of appointments
2021-11-23 | CCC Liverpool | Power cut in affecting Linacs | Delay to treatment | 40 mins
2021-12-23 | CCC Wirral | PET-CT scanner temperature issue | 4-8 patients. Cancellation of appointments | 1 day
2022-01-07 | CCC Liverpool | Swipe access panels not working in PET-CT | 3 injections delayed
Note on B17: Owen Smith: was CCC-L changed to CCC-W
Note on B22: Owen Smith: was CCC-W changed to CCC-L